Firmware Programming Notes for ATRT-01/01B Series 3

Please use the following steps to program the ATRT-01 S3 firmware.

1. Copy the “ATRT01S3.HEX” file to the thumb drive.

2. Turn off ATRT-01 S3 power.

3. Insert thumb drive into the ATRT-01 S3 USB thumb drive port on the front panel.

4. Hold “STOP” key on the ATRT-01 S3 key pad and turn on power.

5. When “ERASE” message is shown on the LDC, release “STOP” key.

6. Unit will reprogram itself.

7. Verify new firmware revision when the ATRT-01 S3 restarts itself.

Contact Vanguard Instruments Company at 909-923-9390 or www.vanguard-instruments.com if you have any questions.