Firmware Programming Notes for CT-3500 S2

Please use the following steps to program the CT-3500 S2 firmware.

1. Copy the “CT3500S2.HEX” file to the USB thumb drive.

2. Turn off CT-3500 S2 power.

3. Insert thumb drive into the CT-3500 S2 USB memory port on the front panel.

4. Hold “STOP” key on the CT-3500 S2 key pad and turn on power.

5. When “ERASE” message is shown on the LDC, release “STOP” key.

6. Unit will reprogram itself.

7. Verify new firmware revision when the CT-3500 S2 restarts itself.

Contact Vanguard Instruments Company at 909-923-9390 or www.vanguard-instruments.com if you have any questions.