Firmware Programming notes for MCCB-250

Please use the following steps to update your Digitmr firmware.

Using RS-232C Interface

- Un-zip the firmware zip file you received from the web site.

- Connect CB Analyzer to your PC using the RS-232C cable.

- Run the “XferCWin Rev9874.exe” from the PC

- Select PC COM port

- Select on “File”, Select “Transfer”

- Select “MCCB-250”

- Follow instruction on the PC screen.

- After CB Analyzer firmware is updated, verify firmware revision on LCD